## Automated hemoglobin system
Automated hemoglobin system, hematology analyzer |  |  |  |  | 66 | <--- Total score
Bidders should complete this form to provide responses about their device which meet or exceed these required specifications, and shall provide supporting documents, where applicable.
UMDNS: 17740 Analyzers, Laboratory, Hematology Total Quantity: 1,294 | Equipment Location (Region): Quantity SOPHI a. Indonesia: 2219 units | Description: Laboratory analyzers designed to determine the morphology of the blood and blood-forming cells. These analyzers are used to perform complete blood counts, determine hemoglobin concentration, evaluate the adhesion of cells to one another (aggregation), detect abnormalities in the process to complete normal blood clotting (coagulation), and/or perform ABO grouping and subgrouping, Rh and other red cell phenotyping, and antibody detection.
PROPOSED DEVICE INFORMATION | REQUIREMENTS | BIDDER'S RESPONSE
Brand/Manufacturer Name | Bidder to specify | Enter Responses Here!
Model Name | Bidder to specify | Enter Responses Here!
Country of Origin | Bidder to specify | Enter Responses Here!
Year of 1st Production for Model Proposed | Bidder to specify | Enter Responses Here!
Brochure/Catalogue | Bidder shall provide product brochure in English. Both Soft copy and Hard copy are required. | Enter Responses Here!
Nomor Izin Edar (NIE) - Indonesia Product Approval License | NIE will not be a prerequisite at bidding stage, yet required for contract award. Bidder to specify whether NIE has already been alloted, as detailed in the bidding document | Enter Responses Here!
U.S. FDA Clearance, CE Mark (Conformité Européenne mark) (MDD), or other health, safety and environmental standard adherence | Mandatory if NIE not allotted as of yet. Bidder to provide evidence | Enter Responses Here!
Picture of Model Proposed | Bidder to attach a picture of model proposed | Enter Responses Here!
CLINICAL APPLICATIONS/PROCEDURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Automated system | Required |  |  | Enter Responses Here!
Perform red blood cell (RBC) and white blood cell (WBC) counts, total hemoglobin (Hgb) measurement, hematocrit (Hct) measurement, assessments of mean corpuscular volume (MCV), mean corpuscular hemoglobin (MCH), mean corpuscular hemoglobin concentration (MCHC), platelet (Plt) count, mean Plt volume (MPV), red cell distribution width (RDW), red cell morphology, and differential WBC counts. | Required |  |  | Enter Responses Here!
Counts of immature RBCs (reticulocytes) | Required |  |  | Enter Responses Here!
TECHNICAL SPECIFICATIONS/FEATURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Configuration | Tabletop, Benchtop or Compact |  |  | Enter Responses Here!
Method Used | The technique used by the instrument to count, size, or differentiate cells. Bidder to specify |  |  | Enter Responses Here!
Test Menu | Availability of multiple test parameters |  |  | Enter Responses Here!
Basic hematology | RBC, WBC, PLT, Hgb, Hct, MCV, MCH, MCHC |  |  | Enter Responses Here!
5-part WBC differential | Required; L# and %, M# and %, G# and % |  |  | Enter Responses Here!
Reticulocyte count | Required |  |  | Enter Responses Here!
Reticulocyte percentage, % | Preferred |  |  | Enter Responses Here! | 1
Detection of Malaria parasites | Preferred |  |  | Enter Responses Here! | 1
Others | Preferred to have other test analytes, such as PDW, P-LCR, IRF, MPV, MRV, NRBC#, NRBC%, RDW-CV, RDW-SD, body fluids: total nucleated count and RBC count for synovial, serous, and CSF fluids. Bidder to list other parameters. |  |  | Enter Responses Here! | 1
Sample Type | Required; Capillary and whole blood required |  |  | Enter Responses Here!
Minimum Sample Volume, µL | ≤ 100 µL |  |  | Enter Responses Here!
Minimum Sample Volume, µL | ≤ 50 µL |  |  | Enter Responses Here! | 2
Sample Type | Synovial, serous, and CSF fluids |  |  | Enter Responses Here! | 2
Sample Volume Range, µL | 10 - 300 µL |  |  | Enter Responses Here!
Maximum Throughput, samples/hour | The maximum number of samples the instrument can process in an hour, on average. ≥30 Required |  |  | Enter Responses Here!
Maximum Throughput, samples/hour | ≥150 preferred |  |  | Enter Responses Here! | 4
Analysis time, seconds | The time, in seconds, in which the analyzer can produce test results. ≤ 180 seconds |  |  | Enter Responses Here!
Analysis time, seconds | The time, in seconds, in which the analyzer can produce test results. < 60 seconds |  |  | Enter Responses Here! | 3
Sample capacity | Bidder to Specify |  |  | Enter Responses Here!
Start-up time, min | The number of minutes an analyzer takes to move from standby mode to being ready to process samples. < 5 min |  |  | Enter Responses Here!
Start-up time, min | The number of minutes an analyzer takes to move from standby mode to being ready to process samples. < 2 min |  |  | Enter Responses Here! | 3
System Features
Auto Dilution | Required |  |  | Enter Responses Here!
Counts/dilution | Ratio of blood sample to diluent. Bidder to specify. |  |  | Enter Responses Here!
Clot Detection | Bidder to specify |  |  | Enter Responses Here!
Autosampler | Required |  |  | Enter Responses Here!
Closed-tube sampling | Can run samples without requiring manual removal of the tube cap or drawing of the samples. |  |  | Enter Responses Here!
Coincidence correction | Bidder to specify |  |  | Enter Responses Here!
Adjustable threshold | Bidder to specify |  |  | Enter Responses Here!
Calibration type - electronic, liquid, or both | Bidder to specify |  |  | Enter Responses Here!
Quality control (QC) type - electronic, liquid, or both | Bidder to specify |  |  | Enter Responses Here!
Histogram display | Preferred; A graphic representation of the relative numbers of a particular cell type. |  |  | Enter Responses Here! | 3
Reagent Types | Bidder to Specify all reagents needed for analyzer function |  |  | Enter Responses Here!
Alarm types | Bidder to specify all analyzer alarms |  |  | Enter Responses Here!
Visual alarm indication (i.e., seen on analyzer display) | Required |  |  | Enter Responses Here!
Audible alarm indication | Required |  |  | Enter Responses Here!
Data Management | Hardware and software included |  |  | Enter Responses Here!
Display | At least 17" colour LCD touchscreen, with external PC |  |  | Enter Responses Here!
Results stored | > 5,000 results |  |  | Enter Responses Here!
Results stored | > 30,000 results |  |  | Enter Responses Here! | 2
Computer interfacing | Full set interfaced PC provided with system; Allows clinicians to link test results to a patient's record. |  |  | Enter Responses Here!
Printer | Laser printer, compatible with PC |  |  | Enter Responses Here!
Bar-code Reader | Provided with system |  |  | Enter Responses Here!
Bar-code Reader | Integrated with system |  |  | Enter Responses Here! | 3
Supported barcode languages | Bidder to specify |  |  | Enter Responses Here!
Type of Disinfectant used for Infection Control | Free of corrosive ingredients |  |  | Enter Responses Here!
Compatible Agents | Bidder to specify |  |  | Enter Responses Here!
Cleaning Instruction/Guideline for Clinicians/Users | Bidder to provide |  |  | Enter Responses Here!
ACCESSORIES REQUIRED FOR EACH CLINICAL APPLICATION/PROCEDURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
START-UP CONSUMABLES, if any | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Reagents | Bidder to supply quantity for 100 typical patient procedures. |  |  | Enter Responses Here!
Calibration reagents | Bidder to supply quantity for 100 typical patient procedures. |  |  | Enter Responses Here!
QC reagents | Bidder to supply quantity for 100 typical patient procedures. |  |  | Enter Responses Here!
Thermal Printer Paper/Cartridges | Bidder to supply quantity for 100 typical patient procedures. |  |  | Enter Responses Here!
Others | Bidder to specify |  |  | Enter Responses Here!
DEVICE PHYSICAL ATTRIBUTES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Dimension, H x W x D, cm | Bidder to specify | - |  | Enter Responses Here!
Weight, kg | Bidder to specify | - |  | Enter Responses Here!
MECHANICAL & ELECTRICAL (M&E) REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Electrical Requirement, V | 230 ± 10 V AC, 50Hz, Single-Phase |  |  | Enter Responses Here!
Power Plug Type | Type F power plug, in complicance with Indonesia requirements. |  |  | Enter Responses Here!
Power Consumption, kW | Bidder to specify a. Highest power consumption b. During normal operation |  |  | Enter Responses Here!
UPS Requirement | Bidder to specify |  |  | Enter Responses Here!
Estimated Operation Time, minutes | At least 30 minutes, if applicable |  |  | Enter Responses Here!
Compliant with IEC 60601 - Safety of Medical Electrical Equipment | Required. Bidder to provide certificate. |  |  | Enter Responses Here!
Compliant with IEC Standards for Energy Efficiency | Bidder to specify relevant IEC Standards |  |  | Enter Responses Here!
Certifications related to Energy Efficiency | Preferred |  |  | Enter Responses Here! | 3
IT REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Interface with Information System | Required; e.g: HIS, RIS, EMR, etc |  |  | Enter Responses Here!
Compatibility with HL7 or ASTM (Communication Interface) | HL7 Standards Connectivity/Interoperability |  |  | Enter Responses Here!
Compatibility with DICOM (Digital Imaging and Communications in Medicine) | N/A |  |  | Enter Responses Here!
Type of Networking/Connectivity Interface | Wireless or LAN-Port, or both Bidder to specify |  |  | Enter Responses Here!
Compatible Data Management System (Middleware) | Bidder to specify |  |  | Enter Responses Here!
Data Port | Data port must be activated (e.g: RS232, USB) to allow download of data logs from device and service |  |  | Enter Responses Here!
Communication Protocol | Bidder to specify |  |  | Enter Responses Here!
System Upgradeable in Future | Software and hardware updates and upgrades at no cost |  |  | Enter Responses Here!
Remote Support Capability | Preferred; Off site diagnosis of technical issues and remote fixes. |  |  | Enter Responses Here! | 3
Cybersecurity Considerations
Installation of Current Release Software Version | Bidder to provide |  |  | Enter Responses Here!
Anti-malware or Anti-virus, included or compatible | Preferred |  |  | Enter Responses Here! | 2
Deactivation of unnecessary open communication channels (e.g.: USB ports) | Preferred; Ability to disable (software and hardware) |  |  | Enter Responses Here! | 1
Confidentiality and Security Measures | Bidder to specify if applicable |  |  | Enter Responses Here!
ARTIFICIAL INTELLIGENCE (AI) CAPABILITITES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Does the equipment include any AI Capability? | Bidder to specify AI Capabilities. |  |  | Enter Responses Here! | 3
What is the AI capability intended to assist with? (e.g., workflow automation, diagnosis assistance, patient scheduling, other) | Bidder to specify |  |  | Enter Responses Here!
Does the AI Capability have High or Low impact on Patient Care? | Bidder to specify |  |  | Enter Responses Here!
Is this equipment that incorporates AI capabilities generally classified as high-risk or low-risk? | Bidder to specify |  |  | Enter Responses Here!
Are the AI capabilities embedded in the device or require of third party applications? | Bidder to specify |  |  | Enter Responses Here!
TELEMEDICINE (TM) CAPABILITITES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Does the equipment have telemedicine capability or can it be used in telemedicine applications? | Bidder to specify telemedicine capabilities |  |  | Enter Responses Here! | 3
Asynchronous telemedicine capabilities. Store-and-forward technology is asynchronous in that it allows for the images or data to be interpreted at a later time and eliminates the need for the patient and physician to be in the same room or venue. (i.e., through store and forward, in which patient information, such as an image or data, "stored" in the originating facility's (i.e., where the patient is) computer system is sent securely ("forwarded") to the telehealth provider at the distant site (i.e., where the provider is) for review.) | Bidder to specify |  |  | Enter Responses Here!
Remote patient monitoring capabilities. Remote patient monitoring, in which vital sign information (e.g., blood pressure) and other data (e.g., blood glucose levels) are collected by monitoring devices, usually at home, and transferred to the patient's physician. This technology is used often in the care of patients with chronic conditions. | Bidder to specify |  |  | Enter Responses Here!
Mobile health (mHealth) integration capabilities. Mobile health (mHealth), in which healthcare and public health information are communicated through mobile devices. The information may include general educational information, targeted texts, and notifications about disease outbreaks. | Bidder to specify |  |  | Enter Responses Here!
Other telemdicine capabilities. | Bidder to specify |  |  | Enter Responses Here!
Is telemedicine offered through a 3rd party vendor? | Bidder to specify |  |  | Enter Responses Here!
Video Capabilities (if available)
Are video capabilities needed? If so, specify if they are included in the solution or offered through 3rd party add-on? | Bidder to specify |  |  | Enter Responses Here! | 2
If video capabilities are available, specify the resolution | Bidder to specify |  |  | Enter Responses Here!
Is night vision available? | Bidder to specify |  |  | Enter Responses Here!
Does the system offer pan/tilt features? | Bidder to specify |  |  | Enter Responses Here!
Is video zoom available? | Bidder to specify |  |  | Enter Responses Here!
Audio capabilities (if available)
Is audio functionality available? | Bidder to specify |  |  | Enter Responses Here! | 1
Specify audio features | Bidder to specify |  |  | Enter Responses Here!
Is echo cancellation available? | Bidder to specify |  |  | Enter Responses Here!
Is noise cancellation available? | Bidder to specify |  |  | Enter Responses Here!
MEDICAL GASES REQUIREMENTS, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
ROOM REQUIREMENTS, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Temperature Requirements | The areas temperature ranges from 22-32 C. Equipment must be operational in that temperature range. If it is not please specify the range needed. |  |  | Enter Responses Here!
Humidity Requirements | The area's relative humidity ranges between 70% and 90%.Equipment must be operational in that range. If it is not please specify the range needed. |  |  | Enter Responses Here!
MAINTENANCE & SERVICE REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Acceptance Testing & Commissioning | Yes, inclusive of vendor representative attendance, with test equipments and supplies Bidder must perform Acceptance Testing & Commissioning that includes Electrical Safety Testing using calibrated test equipment and tools, and procedural checklist. Bidder shall inspect and test all medical equipment supplied to hospital in accordance to manufacturer's recommended procedures. |  |  | Enter Responses Here!
User Training | Required. Twice, within 4 weeks upon successful Acceptance Testing & Commissioning. |  |  | Enter Responses Here!
Duration of User Training Session (Time) | Bidder to specify the duration of training session |  |  | Enter Responses Here!
Operator Manual (Instruction For Use) and Service Manual | Required. Bidder to provide in Hardcopy and/or Softcopy upon successful Acceptance Testing & Commissioning. |  |  | Enter Responses Here!
Warranty Duration | To commence upon successful Acceptance Testing & Commissioning. Warranty Duration: minimum 5 years, inclusive of annual preventive maintenance and repair services; inclusive of all labor, parts, logistics and transportation |  |  | Enter Responses Here!
Extention of Warranty Duration | To commence upon successful Acceptance Testing & Commissioning. Extension Warranty Duration: Year 6 and 7, inclusive of annual preventive maintenance and repair services; inclusive of all labor, parts, logistics and transportation |  |  | Enter Responses Here! | 23
Manufacturer Recommended Annual Preventive Maintenance (Kalibrasi) Interval | Bidder to specify, by number of times a year, minimum 2 times per year |  |  | Enter Responses Here!
Comprehensive Service Contract Duration, Post Warranty | To commence upon end of Warranty Duration. Comprehensive Service Contract Duration: minimum 5 years, inclusive of annual preventive maintenance and repair services; inclusive of all labor, parts, logistics and transportation |  |  | Enter Responses Here!
Response Time, Remote Technical Support (Phone/Email) | Within 1 hour upon notification from user, inclusive of weekends and public holidays Applicable for both Warranty Duration and Comprehensive Service Contract Duration. |  |  | Enter Responses Here!
Response Time, On-site Technical Support | Within 5 calendar days upon notification from user, inclusive of weekends and public holidays Applicable for both Warranty Duration and Comprehensive Service Contract Duration. |  |  | Enter Responses Here!
Turnaround time for corrective maintenance | less than 5 calendar days (with penalty system) |  |  | Enter Responses Here!
Uptime Guarantee, Annually (days) | ≥95% |  |  | Enter Responses Here!
Assured Availability of Spare Parts | Minimum 10 years post Acceptance Testing and Commissioning Date |  |  | Enter Responses Here!
Installation Base (Specific to this model) | Please provide installation base (hospital name and location), year of installation |  |  | Enter Responses Here!

## Hazards and Recalls
Notification of Equipment Hazards and/or Recalls
Please list down the Hazards and/or Recalls of the equipment that you proposed and the field corrective actions, if any.
List (Reported Hazards, Alerts, RECALL): | Please provide clarification of action taken:
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!

## Proposed Accessories and Price
Proposed Accessories and Price (5 years)
Procurement of Automated hemoglobin system, hematology analyzer
Include description and pricing for all accessories (e.g., <insert examples>, etc.) required for a typical procedure and offered by your company.
Brand | Model | Accessories Name/Description | Catalogue No. | UoM/Quantity | Unit Price ($) | Total Price ($)
Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here!
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | TOTAL |  | 0 | 0 | 0
|  | Discount ($), if any |  |  |  | 0
|  | GRAND TOTAL PRICE ($) |  |  |  | 0

## Proposed Consumables and Price
Proposed Consumables and Price (5 years)
Procurement of Automated hemoglobin system, hematology analyzer
Include description and pricing for all consumable items (e.g.,<insert examples> etc.) required for a typical procedure and offered by your company. Provide total consumable pricing for 100 typical patient procedures.
Brand | Model | Consumables Name/Description | Catalogue No. | UoM/Quantity | Unit Price ($) | Total Price ($)
Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here!
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | TOTAL |  | 0 | 0 | 0
|  | Discount ($), if any |  |  |  | 0
|  | GRAND TOTAL PRICE ($) |  |  |  | 0

## Proposed Post Warranty Service
Proposed Post - Warranty, Maintenance Service Contract (Year 6 to 10)
Procurement of Automated hemoglobin system, hematology analyzer
Brand | Model | UoM/Quantity | PPM Frequency (times/year) | Comprehensive Service Contract
Shall include: - Working hours - Labor charge and cost incurred in transportation & accomodation - Spare parts
|  |  |  | Details of Service Contract | Total for Year 6 ($) | Total for Year 7 ($) | Total for Year 8 ($) | Total for Year 9 ($) | Total for Year 10 ($)
Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here!