## Komen
Mayo Table or Instrument Table |  |  |  |  | WB review comments
Bidder shall complete this form to provide responses about their proposed medical equipment. Each response by Bidder shall be supported with reference document,e.g: Catalogue, Equipment Technical Data Sheet, etc., and each reference shall be highlighted and/or labelled. |  |  |  |  | No scoring can defined for this simple device, because all requirement must be mandatory in order to assure the quality of the device.
UMDNS: 18381 Tables, Instrument, Mayo Stand Total Quantity: 29,327 | Equipment Location (Region): Quantity SOPHI a. Indonesia (Nationwide): 29,327 units | Description: Instrument tables that include one or more fixed or removable top trays to accommodate surgical instruments and have casters. The trays are sterilizable These tables are designed for use during surgical procedures, enabling surgeons to work from both sides of the operating table and preventing tip over. |  |  | Jumlah: 12,364
PROPOSED DEVICE INFORMATION | REQUIREMENTS | BIDDER'S RESPONSE
Brand/Manufacturer Name | Bidder to specify | Enter Responses Here!
Model Name | Bidder to specify | Enter Responses Here!
Country of Origin | Bidder to specify | Enter Responses Here!
Year of 1st Production for Model Proposed | Bidder to specify | Enter Responses Here!
Brochure/Catalogue | Bidder shall provide product brochure in English. Both Soft copy and Hard copy are required. | Enter Responses Here!
Nomor Izin Edar (NIE) - Indonesia Product Approval License | NIE will not be a prerequisite at bidding stage, yet required for contract award. Bidder to specify whether NIE has already been alloted, as detailed in the bidding document | Enter Responses Here!
U.S. FDA Clearance, CE Mark (Conformité Européenne mark) (MDD), or other health, safety and environmental standard adherence | Bidder to specify, mandatory if NIE not alloted as of yet | Enter Responses Here! |  |  | Others standart?
Picture of Model Proposed | Bidder to attach a picture of model proposed | Enter Responses Here!
TECHNICAL SPECIFICATIONS/FEATURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Type | Mobile |  |  | Enter Responses Here! | ok
Material of Construction | Stainless steel |  |  | Enter Responses Here! | ok
Stand | With 2 swivel castors |  |  | Enter Responses Here! | ok
Removable Tray | Required |  |  | Enter Responses Here! | ok
Tray Size, H x W x D, cm | Bidder to specify |  |  | Enter Responses Here!
Tray Material | Stainless steel |  |  | Enter Responses Here! | ok
Sterilizable | Required |  |  | Enter Responses Here! | ok
Base | Low base for easy sliding under equipment |  |  | Enter Responses Here! | ok
Height Adjustable | Hand Knob or Foot Pedal. Bidder to specify |  |  | Enter Responses Here! | ok
Safe Descend Feature | Required |  |  | Enter Responses Here!
Type of Disinfectant used for Infection Control | Free of corrosive ingredients |  |  | Enter Responses Here! | ok
Compatible Agents | Bidder to specify |  |  | Enter Responses Here!
ACCESSORIES REQUIRED FOR EACH CLINICAL APPLICATION/PROCEDURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
START-UP CONSUMABLES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Sterile drapes | Bidder to supply quantity for 100 typical patient procedures. |  |  | Enter Responses Here! | NA
Nonsterile drapes | Bidder to supply quantity for 100 typical patient procedures. |  |  | Enter Responses Here! | NA
Others | Bidder to specify |  |  | Enter Responses Here!
Consumables needed | Bidder to specify itemized quantity for 100 typical patient procedures |  |  | Enter Responses Here!
DEVICE PHYSICAL ATTRIBUTES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Dimension, H x W x D, cm | Bidder to specify |  |  | Enter Responses Here!
Weight, kg | Bidder to specify |  |  | Enter Responses Here!
ELECTRICAL REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
IT REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
ARTIFICIAL INTELLIGENCE (AI) CAPABILITITES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
TELEMEDICINE (TM) CAPABILITITES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
MEDICAL GASES REQUIREMENTS, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
ROOM REQUIREMENTS, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
MAINTENANCE & SERVICE REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Acceptance Testing & Commissioning | Yes, inclusive of vendor representative attendance, with test equipments and supplies Bidder must perform Acceptance Testing & Commissioning. Bidder shall inspect and test all medical equipment supplied to hospital in accordance to manufacturer's recommended procedures. |  |  | Enter Responses Here! | Ok
User Training | N/A
Duration of User Training Session (Time) | N/A
Operator Manual (Instruction For Use) and Service Manual | N/A
Warranty Duration | To commence upon successful Acceptance Testing & Commissioning. Warranty Duration: minimum 2 years, inclusive of annual preventive maintenance and repair services; inclusive of all labor, parts, logistics and transportation |  |  | Enter Responses Here! | ok
Extention of Warranty Duration | N/A
Manufacturer Recommended Annual Preventive Maintenance (Kalibrasi) Interval | N/A
Comprehensive Service Contract Duration, Post Warranty | N/A
Response Time, Remote Technical Support (Phone/Email) | N/A
Response Time, On-site Technical Support | N/A
Turnaround time for corrective maintenance | N/A
Uptime Guarantee, Annually (days) | N/A
Assured Availability of Spare Parts | Minimum 2 years post Acceptance Testing and Commissioning Date |  |  | Enter Responses Here! | ok
Installation Base (Specific to this model) | N/A

## Mayo Table or Instrument Table
Mayo Table or Instrument Table
Bidder shall complete this form to provide responses about their proposed medical equipment. Each response by Bidder shall be supported with reference document,e.g: Catalogue, Equipment Technical Data Sheet, etc., and each reference shall be highlighted and/or labelled.
UMDNS: 18381 Tables, Instrument, Mayo Stand Total Quantity: 12,364 | Equipment Location (Region): Quantity SOPHI a. Indonesia (Nationwide): 29,327 units | Description: Instrument tables that include one or more fixed or removable top trays to accommodate surgical instruments and have casters. The trays are sterilizable These tables are designed for use during surgical procedures, enabling surgeons to work from both sides of the operating table and preventing tip over.
PROPOSED DEVICE INFORMATION | REQUIREMENTS | BIDDER'S RESPONSE
Brand/Manufacturer Name | Bidder to specify | Enter Responses Here!
Model Name | Bidder to specify | Enter Responses Here!
Country of Origin | Bidder to specify | Enter Responses Here!
Year of 1st Production for Model Proposed | Bidder to specify | Enter Responses Here!
Brochure/Catalogue | Bidder shall provide product brochure in English. Both Soft copy and Hard copy are required. | Enter Responses Here!
Nomor Izin Edar (NIE) - Indonesia Product Approval License | NIE will not be a prerequisite at bidding stage, yet required for contract award. Bidder to specify whether NIE has already been alloted, as detailed in the bidding document | Enter Responses Here!
U.S. FDA Clearance, CE Mark (Conformité Européenne mark) (MDD), or other health, safety and environmental standard adherence | Bidder to specify, mandatory if NIE not alloted as of yet | Enter Responses Here!
Picture of Model Proposed | Bidder to attach a picture of model proposed | Enter Responses Here!
TECHNICAL SPECIFICATIONS/FEATURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Type | Mobile |  |  | Enter Responses Here!
Material of Construction | Stainless steel |  |  | Enter Responses Here!
Stand | With 4 swivel castors |  |  | Enter Responses Here!
Removable Tray | Required |  |  | Enter Responses Here!
Tray Size, H x W x D, cm | Bidder to specify |  |  | Enter Responses Here!
Tray Material | Stainless steel |  |  | Enter Responses Here!
Sterilizable | Required |  |  | Enter Responses Here!
Base | Low base for easy sliding under equipment |  |  | Enter Responses Here!
Height Adjustable | Hand Knob or Foot Pedal. Bidder to specify |  |  | Enter Responses Here!
Safe Descend Feature | Required |  |  | Enter Responses Here!
Type of Disinfectant used for Infection Control | Free of corrosive ingredients |  |  | Enter Responses Here!
Compatible Agents | Bidder to specify |  |  | Enter Responses Here!
ACCESSORIES REQUIRED FOR EACH CLINICAL APPLICATION/PROCEDURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
START-UP CONSUMABLES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Sterile drapes | Bidder to supply quantity for 100 typical patient procedures. |  |  | Enter Responses Here!
Nonsterile drapes | Bidder to supply quantity for 100 typical patient procedures. |  |  | Enter Responses Here!
Others | Bidder to specify |  |  | Enter Responses Here!
Consumables needed | Bidder to specify itemized quantity for 100 typical patient procedures |  |  | Enter Responses Here!
DEVICE PHYSICAL ATTRIBUTES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Dimension, H x W x D, cm | Bidder to specify |  |  | Enter Responses Here!
Weight, kg | Bidder to specify |  |  | Enter Responses Here!
ELECTRICAL REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
IT REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
ARTIFICIAL INTELLIGENCE (AI) CAPABILITITES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
TELEMEDICINE (TM) CAPABILITITES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
MEDICAL GASES REQUIREMENTS, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
ROOM REQUIREMENTS, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
MAINTENANCE & SERVICE REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Acceptance Testing & Commissioning | Yes, inclusive of vendor representative attendance, with test equipments and supplies Bidder must perform Acceptance Testing & Commissioning. Bidder shall inspect and test all medical equipment supplied to hospital in accordance to manufacturer's recommended procedures. |  |  | Enter Responses Here!
User Training | N/A |  |  | Enter Responses Here!
Duration of User Training Session (Time) | N/A |  |  | Enter Responses Here!
Operator Manual (Instruction For Use) and Service Manual | N/A |  |  | Enter Responses Here!
Warranty Duration | To commence upon successful Acceptance Testing & Commissioning. Warranty Duration: minimum 2 years, inclusive of annual preventive maintenance and repair services; inclusive of all labor, parts, logistics and transportation |  |  | Enter Responses Here!
Extention of Warranty Duration | N/A |  |  | Enter Responses Here!
Manufacturer Recommended Annual Preventive Maintenance (Kalibrasi) Interval | N/A |  |  | Enter Responses Here!
Comprehensive Service Contract Duration, Post Warranty | N/A |  |  | Enter Responses Here!
Response Time, Remote Technical Support (Phone/Email) | N/A |  |  | Enter Responses Here!
Response Time, On-site Technical Support | N/A |  |  | Enter Responses Here!
Turnaround time for corrective maintenance | N/A |  |  | Enter Responses Here!
Uptime Guarantee, Annually (days) | N/A |  |  | Enter Responses Here!
Assured Availability of Spare Parts | Minimum 2 years post Acceptance Testing and Commissioning Date |  |  | Enter Responses Here!
Installation Base (Specific to this model) | N/A |  |  | Enter Responses Here!

## Hazards and Recalls
Notification of Equipment Hazards and/or Recalls
Please list down the Hazards and/or Recalls of the equipment that you proposed and the field corrective actions, if any.
List (Reported Hazards, Alerts, RECALL): | Please provide clarification of action taken:
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!

## Proposed Consumables and Price
Proposed Consumables and Price (5 years)
Procurement of Mayo Table or Instrument Table
Include description and pricing for all consumable items (e.g.,drapes etc.) required for a typical procedure and offered by your company. Provide total consumable pricing for 100 typical patient procedures.
Brand | Model | Consumables Name/Description | Catalogue No. | UoM/Quantity | Unit Price ($) | Total Price ($)
Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here!
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | TOTAL |  | 0 | 0 | 0
|  | Discount ($), if any |  |  |  | 0
|  | GRAND TOTAL PRICE ($) |  |  |  | 0

## Proposed Post Warranty Service
Proposed Post - Warranty, Maintenance Service Contract (Year 6 to 10)
Procurement of Mayo Table or Instrument Table
Brand | Model | UoM/Quantity | PPM Frequency (times/year) | Comprehensive Service Contract
Shall include: - Working hours - Labor charge and cost incurred in transportation & accomodation - Spare parts
|  |  |  | Details of Service Contract | Total for Year 6 ($) | Total for Year 7 ($) | Total for Year 8 ($) | Total for Year 9 ($) | Total for Year 10 ($)
Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here!