## Technical Specification (Blank) (hidden)
Package # Device Name
Bidder shall complete this form to provide responses about their proposed medical equipment. Each response by Bidder shall be supported with reference document,e.g: Catalogue, Equipment Technical Data Sheet, etc., and each reference shall be highlighted and/or labelled.
UMDNS: UMDNS Number UMDNS TERM Total Quantity: | Equipment Category (Package): Quantity a. SIHREN (Package): # units b. SOPHI (Package): # units c. INPULS (Package): # units | Description:
PROPOSED DEVICE INFORMATION | REQUIREMENTS | BIDDER'S RESPONSE
Brand/Manufacturer Name | Bidder to specify | Enter Responses Here!
Model Name | Bidder to specify | Enter Responses Here!
Country of Origin | Bidder to specify | Enter Responses Here!
Year of 1st Production for Model Proposed | Bidder to specify | Enter Responses Here!
Brochure/Catalogue | Bidder to provide product brochure in English version. | Enter Responses Here!
Nombor Izin Edar (NIE) - Indonesia Product Approval License | Bidder to specify | Enter Responses Here!
U.S. FDA / MDA Clearance | Required, Bidder to provide a copy of certification. | Enter Responses Here!
CE Mark (Conformité Européenne mark) (MDD) | Required, Bidder to provide a copy of certification. | Enter Responses Here!
Picture of Model Proposed | Bidder to attach a picture of model proposed | Enter Responses Here!
CLINICAL APPLICATIONS/PROCEDURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
TECHNICAL SPECIFICATIONS/FEATURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
General |  |  |  | Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Category
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Category
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Category
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
ACCESSORIES REQUIRED FOR EACH CLINICAL APPLICATION/PROCEDURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Does the equipment require proprietary consumables? |  |  |  | Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
START-UP CONSUMABLES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
| 2 sets per unit |  |  | Enter Responses Here!
| 2 sets per unit |  |  | Enter Responses Here!
DEVICE PHYSICAL ATTRIBUTES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Dimension, H x W x D, cm | Bidder to specify |  |  | Enter Responses Here!
Weight, kg | Bidder to specify |  |  | Enter Responses Here!
ELECTRICAL REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Electrical Requirement, V | 230 V AC, 50Hz |  |  | Enter Responses Here!
Power Plug Type | 3-pins/prongs power plug with strain relief |  |  | Enter Responses Here!
Power Consumption, kW | Bidder to specify highest power consumption |  |  | Enter Responses Here!
Battery Powered | Rechargeable |  |  | Enter Responses Here!
Battery Operating Time, hr | Bidder to specify |  |  | Enter Responses Here!
Battery Recharging Time, hr | Bidder to specify |  |  | Enter Responses Here!
UPS Requirement | Bidder to specify |  |  | Enter Responses Here!
Compliant with IEC 60601 - Safety of Medical Electrical Equipment | Required. Bidder to provide certificate. |  |  | Enter Responses Here!
Compliant with IEC Standards for Energy Efficiency | Bidder to specify relevant IEC Standards |  |  | Enter Responses Here!
Certifications related to Energy Efficiency | Bidder to specify. |  |  | Enter Responses Here!
Energy Star Rating | Bidder to specify |  |  | Enter Responses Here!
IT REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Interface with Information System/EMR
Integrating the Healthcare Enterprise (IHE) Profiles Supported | Required for communicating different devices |  |  | Enter Responses Here!
Interface with Information System | Required, e.g: HIS, RIS, EMR, etc |  |  | Enter Responses Here!
Type of Networking/Connectivity Interface | Wireless or LAN-Port Bidder to specify |  |  | Enter Responses Here!
Compatible Data Management System (Middleware) | Bidder to specify |  |  | Enter Responses Here!
Data Port | Data port must be activated, e.g: RS232 Bidder to ensure all output data will be transferable or integrated into HIS. |  |  | Enter Responses Here!
System Upgradeable in Future | Software and hardware upgradeable at no cost |  |  | Enter Responses Here!
Remote Support Capability | Off site diagnosis of technical issues and remote fixes. Bidder to specify. |  |  | Enter Responses Here!
Cybersecurity Considerations
Installation of latest software version | Bidder to provide |  |  | Enter Responses Here!
Anti-malware software and firewalls | Required. |  |  | Enter Responses Here!
Software patches and updates | Bidder to provide at no cost. |  |  | Enter Responses Here!
Deactivation of unnecessary open communication channels (e.g.: USB ports) | Bidder to provide |  |  | Enter Responses Here!
Confidentiality and Security Measures | Bidder to provide Password protected, authentication, wirelesss security protocols, audit trails |  |  | Enter Responses Here!
Adherence to local regulations on security and privacy of electronic health information (e.g.: Health Insurance Portability and Accountability Act (HIPAA) in the USA) | Bidder to specify |  |  | Enter Responses Here!
ARTIFICIAL INTELLIGENCE (AI) CAPABILITITES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Does the equipment include any AI Capability? | Bidder to specify AI Capabilities. |  |  | Enter Responses Here!
What is the AI capability intended to assist with? (e.g., workflow automation, diagnosis assistance, patient scheduling, other) | Bidder to Specify |  |  | Enter Responses Here!
Does the AI Capability have High or Low impact on Patient Care? | Bidder to Specify |  |  | Enter Responses Here!
Is this equipment that incorporates AI capabilities generally classified as high-risk or low-risk? | Bidder to specify |  |  | Enter Responses Here!
Are the AI capabilities embedded in the device or require of third party applications? | Bidder to specify |  |  | Enter Responses Here!
TELEMEDICINE (TM) CAPABILITITES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Does the equipment have telemedicine capability or can it be used in telemedicine applications? | Bidder to specify telemedicine capabilities |  |  | Enter Responses Here!
Asynchronous telemedicine capabilities. Store-and-forward technology is asynchronous in that it allows for the images or data to be interpreted at a later time and eliminates the need for the patient and physician to be in the same room or venue. (i.e., through store and forward, in which patient information, such as an image or data, "stored" in the originating facility's (i.e., where the patient is) computer system is sent securely ("forwarded") to the telehealth provider at the distant site (i.e., where the provider is) for review.) | Bidder to specify |  |  | Enter Responses Here!
Remote patient monitoring capabilities. Remote patient monitoring, in which vital sign information (e.g., blood pressure) and other data (e.g., blood glucose levels) are collected by monitoring devices, usually at home, and transferred to the patient's physician. This technology is used often in the care of patients with chronic conditions. | Bidder to specify |  |  | Enter Responses Here!
Mobile health (mHealth) integration capabilities. Mobile health (mHealth), in which healthcare and public health information are communicated through mobile devices. The information may include general educational information, targeted texts, and notifications about disease outbreaks. | Bidder to specify |  |  | Enter Responses Here!
Other telemdicine capabilities. | Bidder to specify |  |  | Enter Responses Here!
Is telemedicine offered through a 3rd party vendor? | Bidder to specify |  |  | Enter Responses Here!
Video Capabilities (if available)
Are video capabilities needed? If so, specify if they are included in the solution or offered through 3rd party add-on? | Bidder to specify |  |  | Enter Responses Here!
If video capabilities are available, specify the resolution | Bidder to specify |  |  | Enter Responses Here!
Is night vision available? | Bidder to specify |  |  | Enter Responses Here!
Does the system offer pan/tilt features? | Bidder to specify |  |  | Enter Responses Here!
Is video zoom available? | Bidder to specify |  |  | Enter Responses Here!
Audio capabilities (if available)
Is audio functionality available? | Bidder to specify |  |  | Enter Responses Here!
Specify audio features | Bidder to specify |  |  | Enter Responses Here!
Is echo cancellation available? | Bidder to specify |  |  | Enter Responses Here!
Is noise cancellation available? | Bidder to specify |  |  | Enter Responses Here!
MEDICAL GASES REQUIREMENTS 医用气体要求 | REQUIREMENTS 要求 | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
MRI compatible medical gas panel and waveguides within RF Cabin | Bidder to provide installation |  |  | Enter Responses Here!
MEDICAL GASES REQUIREMENTS, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
| Bidder to provide installation. |  |  | Enter Responses Here!
ROOM REQUIREMENTS, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Pre-Installation Requirements | Bidder to specify |  |  | Enter Responses Here!
Minimum Room Size Requirement, W x L, m | Bidder to specify |  |  | Enter Responses Here!
Minimum Ceiling Height, m | Bidder to specify |  |  | Enter Responses Here!
Minimum Equipment Room Size, H x W x L, m | Bidder to specify |  |  | Enter Responses Here!
Air conditioning requirements, BTU | Bidder to specify |  |  | Enter Responses Here!
Fire Alarm and Protection System | Bidder to specify |  |  | Enter Responses Here!
Control Station or Workstation Placement (if applicable) | Bidder to specify |  |  | Enter Responses Here!
Technical or Equipment Room Requirement | Bidder to specify |  |  | Enter Responses Here!
Temperature Requirements | The areas temperature ranges from 22-32 C. Equipment must be operational in that temperature range. If it is not please specify the range needed. |  |  | Enter Responses Here!
Humidity Requirements | The area's relative humidity ranges between 70% and 90%.Equipment must be operational in that range. If it is not please specify the range needed. |  |  | Enter Responses Here!
Other Requirements | Bidder to specify |  |  | Enter Responses Here!
MAINTENANCE & SERVICE REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Recommended Inspection and Preventive Maintenance Interval | Bidder to specify |  |  | Enter Responses Here!
Can the maintenance be done in-house? | Bidder to specify |  |  | Enter Responses Here!
Training for PM protocol to be provided. | Bidder to specify |  |  | Enter Responses Here!
Comprehensive Service Contract | Supplier must offer comprehensive maintenance and repair services |  |  | Enter Responses Here!
Defined In-person response time | 48-72 hours |  |  | Enter Responses Here!
Online technical support response time | Yes |  |  | Enter Responses Here!
Assured availability of spare parts | 7-10 years |  |  | Enter Responses Here!
In-person Factory Acceptance Testing | Yes |  |  | Enter Responses Here!
Note on B44: DD: 500 lb = 227 kg changed to > 227kg

## New spects template 25-10-23 (hidden)
Package # Device Name |  |  |  |  | 45.6
Bidder shall complete this form to provide responses about their proposed medical equipment. Each response by Bidder shall be supported with reference document,e.g: Catalogue, Equipment Technical Data Sheet, etc., and each reference shall be highlighted and/or labelled. |  |  |  |  | 60
UMDNS: UMDNS Number UMDNS TERM Total Quantity: | Equipment Location (Region): Quantity SIHREN a. Sumatra: # b. Kalimantan: # c. Java + Bali + Nusa Tenggara: # d. Sulawesi + Maluku + Papua: # SOPHI b. <Insert Location by Region, follow as SIHREN in sequence>: # INPULS c. <Insert Location by Region, follow as SIHREN in sequence>: # | Description: |  |  | 241.2
PROPOSED DEVICE INFORMATION | REQUIREMENTS | BIDDER'S RESPONSE |  |  | Note: Blue Color Hex code: #CAE0F2
Brand/Manufacturer Name | Bidder to specify | Enter Responses Here! |  |  | rest minimum height 25
Model Name | Bidder to specify | Enter Responses Here!
Country of Origin | Bidder to specify | Enter Responses Here!
Year of 1st Production for Model Proposed | Bidder to specify | Enter Responses Here!
Brochure/Catalogue | Bidder to provide product brochure in English version. | Enter Responses Here!
Nombor Izin Edar (NIE) - Indonesia Product Approval License | Bidder to specify | Enter Responses Here!
U.S. FDA / MDA Clearance | Required, Bidder to provide a copy of certification. | Enter Responses Here!
CE Mark (Conformité Européenne mark) (MDD) | Required, Bidder to provide a copy of certification. | Enter Responses Here!
Picture of Model Proposed | Bidder to attach a picture of model proposed | Enter Responses Here!
CLINICAL APPLICATIONS/PROCEDURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
TECHNICAL SPECIFICATIONS/FEATURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
General |  |  |  | Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Category
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Category
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Category
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
ACCESSORIES REQUIRED FOR EACH CLINICAL APPLICATION/PROCEDURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Does the equipment require proprietary consumables? |  |  |  | Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
START-UP CONSUMABLES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
| 2 sets per unit |  |  | Enter Responses Here!
| 2 sets per unit |  |  | Enter Responses Here!
DEVICE PHYSICAL ATTRIBUTES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Dimension, H x W x D, cm | Bidder to specify |  |  | Enter Responses Here!
Weight, kg | Bidder to specify |  |  | Enter Responses Here!
ELECTRICAL REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Electrical Requirement, V | 230 V AC, 50Hz |  |  | Enter Responses Here!
Power Plug Type | 3-pins/prongs power plug with strain relief |  |  | Enter Responses Here!
Power Consumption, kW | Bidder to specify highest power consumption |  |  | Enter Responses Here!
Battery Powered | Rechargeable |  |  | Enter Responses Here!
Battery Operating Time, hr | Bidder to specify |  |  | Enter Responses Here!
Battery Recharging Time, hr | Bidder to specify |  |  | Enter Responses Here!
UPS Requirement | Bidder to specify |  |  | Enter Responses Here!
Estimated Operation Time, minutes | At least 30 minutes |  |  | Enter Responses Here!
Compliant with IEC 60601 - Safety of Medical Electrical Equipment | Required. Bidder to provide certificate. |  |  | Enter Responses Here!
Compliant with IEC Standards for Energy Efficiency | Bidder to specify relevant IEC Standards |  |  | Enter Responses Here!
Certifications related to Energy Efficiency | Bidder to specify |  |  | Enter Responses Here!
Energy Star Rating | Bidder to specify |  |  | Enter Responses Here!
IT REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Interface with Information System
Integrating the Healthcare Enterprise (IHE) Profiles Supported | Required for communicating different devices |  |  | Enter Responses Here!
Interface with Information System | Required, e.g: HIS, RIS, EMR, etc |  |  | Enter Responses Here!
Type of Networking/Connectivity Interface | Wireless or LAN-Port Bidder to specify |  |  | Enter Responses Here!
Compatible Data Management System (Middleware) | Bidder to specify |  |  | Enter Responses Here!
Data Port | Data port must be activated, e.g: RS232 Bidder to ensure all output data will be transferable or integrated into HIS. |  |  | Enter Responses Here!
System Upgradeable in Future | Software and hardware upgradeable at no cost |  |  | Enter Responses Here!
Remote Support Capability | Off site diagnosis of technical issues and remote fixes. Bidder to specify. |  |  | Enter Responses Here!
Cybersecurity Considerations
Installation of latest software version | Bidder to provide |  |  | Enter Responses Here!
Anti-malware software and firewalls | Required. |  |  | Enter Responses Here!
Deactivation of unnecessary open communication channels (e.g.: USB ports) | Ability to disable (software and hardware) |  |  | Enter Responses Here!
Confidentiality and Security Measures | Bidder to provide Password protected, authentication, wireless security protocols, audit trails |  |  | Enter Responses Here!
Adherence to local regulations on security and privacy of electronic health information (e.g.: Health Insurance Portability and Accountability Act (HIPAA) in the USA) | Bidder to specify |  |  | Enter Responses Here!
ARTIFICIAL INTELLIGENCE (AI) CAPABILITITES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Does the equipment include any AI Capability? | Bidder to specify AI Capabilities. |  |  | Enter Responses Here!
What is the AI capability intended to assist with? (e.g., workflow automation, diagnosis assistance, patient scheduling, other) | Bidder to Specify |  |  | Enter Responses Here!
Does the AI Capability have High or Low impact on Patient Care? | Bidder to Specify |  |  | Enter Responses Here!
Is this equipment that incorporates AI capabilities generally classified as high-risk or low-risk? | Bidder to specify |  |  | Enter Responses Here!
Are the AI capabilities embedded in the device or require of third party applications? | Bidder to specify |  |  | Enter Responses Here!
TELEMEDICINE (TM) CAPABILITITES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Does the equipment have telemedicine capability or can it be used in telemedicine applications? | Bidder to specify telemedicine capabilities |  |  | Enter Responses Here!
Asynchronous telemedicine capabilities. Store-and-forward technology is asynchronous in that it allows for the images or data to be interpreted at a later time and eliminates the need for the patient and physician to be in the same room or venue. (i.e., through store and forward, in which patient information, such as an image or data, "stored" in the originating facility's (i.e., where the patient is) computer system is sent securely ("forwarded") to the telehealth provider at the distant site (i.e., where the provider is) for review.) | Bidder to specify |  |  | Enter Responses Here!
Remote patient monitoring capabilities. Remote patient monitoring, in which vital sign information (e.g., blood pressure) and other data (e.g., blood glucose levels) are collected by monitoring devices, usually at home, and transferred to the patient's physician. This technology is used often in the care of patients with chronic conditions. | Bidder to specify |  |  | Enter Responses Here!
Mobile health (mHealth) integration capabilities. Mobile health (mHealth), in which healthcare and public health information are communicated through mobile devices. The information may include general educational information, targeted texts, and notifications about disease outbreaks. | Bidder to specify |  |  | Enter Responses Here!
Other telemdicine capabilities. | Bidder to specify |  |  | Enter Responses Here!
Is telemedicine offered through a 3rd party vendor? | Bidder to specify |  |  | Enter Responses Here!
Video Capabilities (if available)
Are video capabilities needed? If so, specify if they are included in the solution or offered through 3rd party add-on? | Bidder to specify |  |  | Enter Responses Here!
If video capabilities are available, specify the resolution | Bidder to specify |  |  | Enter Responses Here!
Is night vision available? | Bidder to specify |  |  | Enter Responses Here!
Does the system offer pan/tilt features? | Bidder to specify |  |  | Enter Responses Here!
Is video zoom available? | Bidder to specify |  |  | Enter Responses Here!
Audio capabilities (if available)
Is audio functionality available? | Bidder to specify |  |  | Enter Responses Here!
Specify audio features | Bidder to specify |  |  | Enter Responses Here!
Is echo cancellation available? | Bidder to specify |  |  | Enter Responses Here!
Is noise cancellation available? | Bidder to specify |  |  | Enter Responses Here!
MEDICAL GASES REQUIREMENTS 医用气体要求 | REQUIREMENTS 要求 | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
MRI compatible medical gas panel and waveguides within RF Cabin | Bidder to provide installation |  |  | Enter Responses Here!
MEDICAL GASES REQUIREMENTS, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
| Bidder to provide installation. |  |  | Enter Responses Here!
ROOM REQUIREMENTS, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Pre-Installation Requirements | Bidder to specify |  |  | Enter Responses Here!
Minimum Room Size Requirement, m | Bidder to specify
Minimum Ceiling Height, m | Bidder to specify |  |  | Enter Responses Here!
Minimum Equipment Room Size, m² | Bidder to specify |  |  | Enter Responses Here!
Control Station or Workstation Placement (if applicable), m² | Bidder to specify |  |  | Enter Responses Here!
Technical or Equipment Room Requirement, m² | Bidder to specify |  |  | Enter Responses Here!
Air conditioning requirements, BTU | Bidder to specify |  |  | Enter Responses Here!
Fire Alarm and Protection System | Bidder to specify |  |  | Enter Responses Here!
Temperature Requirements | The areas temperature ranges from 22-32 C. Equipment must be operational in that temperature range. If it is not please specify the range needed. |  |  | Enter Responses Here!
Humidity Requirements | The area's relative humidity ranges between 70% and 90%.Equipment must be operational in that range. If it is not please specify the range needed. |  |  | Enter Responses Here!
Other Requirements | Bidder to specify |  |  | Enter Responses Here!
MAINTENANCE & SERVICE REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Acceptance Testing & Commissioning | Yes, inclusive of vendor representative attendance, with test equipments and supplies Bidder must perform Acceptance Testing & Commissioning that includes Electrical Safety Testing using calibrated test equipment and tools, and procedural checklist. Bidder shall inspect and test all medical equipment supplied to hospital in accordance to manufacturer's recommended procedures. |  |  | Enter Responses Here!
User Training | Required. Within 2 weeks upon successful Acceptance Testing & Commissioning. |  |  | Enter Responses Here!
Operator Manual (Instruction For Use) and Service Manual | Required. Bidder to provide in Hardcopy and/or Softcopy upon successful Acceptance Testing & Commissioning. |  |  | Enter Responses Here!
Warranty Duration | To commence upon successful Acceptance Testing & Commissioning. Warranty Duration: 5 years, inclusive of annual preventive maintenance and repair services; inclusive of all labor and parts |  |  | Enter Responses Here!
Manufacturer Recommended Annual Preventive Maintenance (Kalibrasi) Interval | Bidder to specify, by number of times a year, minimum 2 times per year |  |  | Enter Responses Here!
Comprehensive Service Contract Duration, Post Warranty | To commence upon end of Warranty Duration. Comprehensive Service Contract Duration: 5 years, inclusive of annual preventive maintenance and repair services; inclusive of all labor and parts |  |  | Enter Responses Here!
Response Time, Remote Technical Support (Phone/Email) | Within 1 hour upon notification from user, inclusive of weekends and public holidays Applicable for both Warranty Duration and Comprehensive Service Contract Duration. |  |  | Enter Responses Here!
Response Time, On-site Technical Support | Within 48 hours upon notification from user, inclusive of weekends and public holidays Applicable for both Warranty Duration and Comprehensive Service Contract Duration. |  |  | Enter Responses Here!
Turnaround time for corrective maintenance | less than 14 working days |  |  | Enter Responses Here!
Uptime Guarantee, Annually (days) | ≥98% |  |  | Enter Responses Here!
Assured Availability of Spare Parts | 10 years post Acceptance Testing and Commissioning Date |  |  | Enter Responses Here!
Installation Base (Specific to this model) | Please provide installation base (hospital name and location), year of installation |  |  | Enter Responses Here!
Note on B44: DD: 500 lb = 227 kg changed to > 227kg

## Oxygen Tank 1
Oxygen Tank 1 Metercube and Regulator
Bidder shall complete this form to provide responses about their proposed medical equipment. Each response by Bidder shall be supported with reference document,e.g: Catalogue, Equipment Technical Data Sheet, etc., and each reference shall be highlighted and/or labelled.
UMDNS: 16501 Medical Gas Cylinders Total Quantity: 7,628 | Equipment Location (Region): Quantity SOPHI a. Indonesia (Nationwide): 11,977 units | Description: A container designed to store and transport medical-grade oxygen. These tanks are commonly used in healthcare settings to provide supplemental oxygen to patients who have difficulty breathing or who require higher concentrations of oxygen due to medical conditions. A regulator is a device that attaches to the oxygen tank to control the flow of oxygen from the tank to the patient. It allows for precise adjustment of the oxygen flow rate, measured in liters per minute (LPM). Regulators ensure that the patient receives the correct amount of oxygen as prescribed by a healthcare provider. They typically have a gauge or dial that can be adjusted to set the desired flow rate.
PROPOSED DEVICE INFORMATION | REQUIREMENTS | BIDDER'S RESPONSE
Brand/Manufacturer Name | Bidder to specify | Enter Responses Here!
Model Name | Bidder to specify | Enter Responses Here!
Country of Origin | Bidder to specify | Enter Responses Here!
Year of 1st Production for Model Proposed | Bidder to specify | Enter Responses Here!
Brochure/Catalogue | Bidder shall provide product brochure in English. Both Soft copy and Hard copy are required. | Enter Responses Here!
Nomor Izin Edar (NIE) - Indonesia Product Approval License | NIE will not be a prerequisite at bidding stage, yet required for contract award. Bidder to specify whether NIE has already been alloted, as detailed in the bidding document | Enter Responses Here!
U.S. FDA Clearance, CE Mark (Conformité Européenne mark) (MDD), or other health, safety and environmental standard adherence | Mandatory if NIE not allotted as of yet. Bidder to provide evidence | Enter Responses Here!
Picture of Model Proposed | Bidder to attach a picture of model proposed | Enter Responses Here!
CLINICAL APPLICATIONS/PROCEDURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Storage of compressed Oxygen | Required |  |  | Enter Responses Here!
TECHNICAL SPECIFICATIONS/FEATURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
General
Integrated Regulator | Medical oxygen cylinders shall be available with detachable pressure/flow regulators to facilitate delivery of low-flow oxygen (via selectable flow control) AND high-flow oxygen (via 50psi outlet). |  |  | Enter Responses Here!
Click-stop flow regulators | Able to provide selectable flows from 0.5 through 25 l/m are preferred. |  |  | Enter Responses Here! | 5
Cylinder Material | Cylinder shall be made of stainess steel or aluminium |  |  | Enter Responses Here!
Size / Capacity | Cylinders shall hold 1 cubic meter of compressed oxygen |  |  | Enter Responses Here!
Output pressure | Regulator shall deliver oxygen at 30-50 psi |  |  | Enter Responses Here!
Fixed or variable pressure control | Bidder to specify if regulator is fixed to 50 psi or allows variable output pressure |  |  | Enter Responses Here!
Pressure meter | Preferred; regulator may have a pressure meter to display the output pressure |  |  | Enter Responses Here! | 5
Flowmeter | Preferred; regulator may have an integral flowmeter for delivering, controlling, and measuring flow of oxygen directly to standard oxygen tubing |  |  | Enter Responses Here! | 5
DISS connectors | Regulator shall have standard DISS connectors for high-pressure oxygen hoses |  |  | Enter Responses Here!
Color | Cylinder color shall match local standard (white) |  |  | Enter Responses Here!
Pressure relief valve | Cylinder shall have a pressure relief valve that vents contents to atmosphere in the event of high temperature or overfilling |  |  | Enter Responses Here!
Minimum pressure retention | The cylinder shall have a minimum pressure retention device to prevent moisture ingress |  |  | Enter Responses Here!
ACCESSORIES REQUIRED FOR EACH CLINICAL APPLICATION/PROCEDURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Oxygen Cylinder Trolley | 1 pc per unit |  |  | Enter Responses Here!
Air Humidifier | 1 pc per unit |  |  | Enter Responses Here!
START-UP CONSUMABLES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
DEVICE PHYSICAL ATTRIBUTES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Dimension, H x W x D, cm | Bidder to specify |  |  | Enter Responses Here!
Weight, kg | Bidder to specify |  |  | Enter Responses Here!
ELECTRICAL REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
IT REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
ARTIFICIAL INTELLIGENCE (AI) CAPABILITITES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
TELEMEDICINE (TM) CAPABILITITES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
MEDICAL GASES REQUIREMENTS, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
ROOM REQUIREMENTS, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
MAINTENANCE & SERVICE REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Acceptance Testing & Commissioning | Yes, inclusive of vendor representative attendance, with test equipments and supplies Bidder must perform Acceptance Testing & Commissioning using calibrated test equipment and tools, and procedural checklist. Bidder shall inspect and test all medical equipment supplied to hospital in accordance to manufacturer's recommended procedures. |  |  | Enter Responses Here!
User Training | N/A |  |  | Enter Responses Here!
Duration of User Training Session (Time) | N/A |  |  | Enter Responses Here!
Operator Manual (Instruction For Use) and Service Manual | Required. Bidder to provide in Hardcopy and/or Softcopy upon successful Acceptance Testing & Commissioning. |  |  | Enter Responses Here!
Warranty Duration | N/A |  |  | Enter Responses Here!
Extention of Warranty Duration | N/A |  |  | Enter Responses Here!
Manufacturer Recommended Annual Preventive Maintenance (Kalibrasi) Interval | Bidder to specify, by number of times a year, minimum 2 times per year |  |  | Enter Responses Here!
Comprehensive Service Contract Duration, Post Warranty | To commence upon end of Warranty Duration. Comprehensive Service Contract Duration: 5 years, inclusive of annual preventive maintenance and repair services; inclusive of all labor, parts, logistics and transportation |  |  | Enter Responses Here!
Response Time, Remote Technical Support (Phone/Email) | N/A |  |  | Enter Responses Here!
Response Time, On-site Technical Support | N/A |  |  | Enter Responses Here!
Turnaround time for corrective maintenance | N/A |  |  | Enter Responses Here!
Uptime Guarantee, Annually (days) | N/A |  |  | Enter Responses Here!
Assured Availability of Spare Parts | Minimum 10 years post Acceptance Testing and Commissioning Date |  |  | Enter Responses Here!
Installation Base (Specific to this model) | N/A |  |  | Enter Responses Here!

## NA example (hidden)
Package # Device Name
Bidder shall complete this form to provide responses about their proposed medical equipment. Each response by Bidder shall be supported with reference document,e.g: Catalogue, Equipment Technical Data Sheet, etc., and each reference shall be highlighted and/or labelled.
UMDNS: UMDNS Number UMDNS TERM Total Quantity: # | Equipment Location (Region): Quantity SIHREN a. West Indonesia: # units b. East Indonesia: # units SOPHI b. <Insert Location by Region, follow as SIHREN in sequence>: # INPULS c. <Insert Location by Region, follow as SIHREN in sequence>: # | Description:
PROPOSED DEVICE INFORMATION | REQUIREMENTS | BIDDER'S RESPONSE
Brand/Manufacturer Name | Bidder to specify | Enter Responses Here!
Model Name | Bidder to specify | Enter Responses Here!
Country of Origin | Bidder to specify | Enter Responses Here!
Year of 1st Production for Model Proposed | Bidder to specify | Enter Responses Here!
Brochure/Catalogue | Bidder to provide product brochure in English version. | Enter Responses Here!
Nombor Izin Edar (NIE) - Indonesia Product Approval License | Bidder to specify | Enter Responses Here!
U.S. FDA / MDA Clearance | Required, Bidder to provide a copy of certification. | Enter Responses Here!
CE Mark (Conformité Européenne mark) (MDD) | Required, Bidder to provide a copy of certification. | Enter Responses Here!
Picture of Model Proposed | Bidder to attach a picture of model proposed | Enter Responses Here!
CLINICAL APPLICATIONS/PROCEDURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
TECHNICAL SPECIFICATIONS/FEATURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
General |  |  |  | Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Category
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Category
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Category
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
ACCESSORIES REQUIRED FOR EACH CLINICAL APPLICATION/PROCEDURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Does the equipment require proprietary consumables? |  |  |  | Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
Enter Responses Here!
START-UP CONSUMABLES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
DEVICE PHYSICAL ATTRIBUTES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Dimension, H x W x D, cm | Bidder to specify |  |  | Enter Responses Here!
Weight, kg | Bidder to specify |  |  | Enter Responses Here!
ELECTRICAL REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Electrical Requirement, V | 230 V AC, 50Hz |  |  | Enter Responses Here!
Power Plug Type | 3-pins/prongs power plug with strain relief |  |  | Enter Responses Here!
Power Consumption, kW | Bidder to specify highest power consumption |  |  | Enter Responses Here!
Battery Powered | Rechargeable |  |  | Enter Responses Here!
Battery Operating Time, hr | Bidder to specify |  |  | Enter Responses Here!
Battery Recharging Time, hr | Bidder to specify |  |  | Enter Responses Here!
UPS Requirement | Bidder to specify |  |  | Enter Responses Here!
Compliant with IEC 60601 - Safety of Medical Electrical Equipment | Required. Bidder to provide certificate. |  |  | Enter Responses Here!
Compliant with IEC Standards for Energy Efficiency | Bidder to specify relevant IEC Standards |  |  | Enter Responses Here!
Certifications related to Energy Efficiency | Bidder to specify. |  |  | Enter Responses Here!
Energy Star Rating | Bidder to specify |  |  | Enter Responses Here!
IT REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Interface with Information System/EMR
Integrating the Healthcare Enterprise (IHE) Profiles Supported | Required for communicating different devices |  |  | Enter Responses Here!
Interface with Information System | Required, e.g: HIS, RIS, EMR, etc |  |  | Enter Responses Here!
Type of Networking/Connectivity Interface | Wireless or LAN-Port Bidder to specify |  |  | Enter Responses Here!
Compatible Data Management System (Middleware) | Bidder to specify |  |  | Enter Responses Here!
Data Port | Data port must be activated, e.g: RS232 Bidder to ensure all output data will be transferable or integrated into HIS. |  |  | Enter Responses Here!
System Upgradeable in Future | Software and hardware upgradeable at no cost |  |  | Enter Responses Here!
Remote Support Capability | Off site diagnosis of technical issues and remote fixes. Bidder to specify. |  |  | Enter Responses Here!
Cybersecurity Considerations
Installation of latest software version | Bidder to provide |  |  | Enter Responses Here!
Anti-malware software and firewalls | Required. |  |  | Enter Responses Here!
Software patches and updates | Bidder to provide at no cost. |  |  | Enter Responses Here!
Deactivation of unnecessary open communication channels (e.g.: USB ports) | Bidder to provide |  |  | Enter Responses Here!
Confidentiality and Security Measures | Bidder to provide Password protected, authentication, wirelesss security protocols, audit trails |  |  | Enter Responses Here!
Adherence to local regulations on security and privacy of electronic health information (e.g.: Health Insurance Portability and Accountability Act (HIPAA) in the USA) | Bidder to specify |  |  | Enter Responses Here!
ARTIFICIAL INTELLIGENCE (AI) CAPABILITITES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
TELEMEDICINE (TM) CAPABILITITES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
MEDICAL GASES REQUIREMENTS 医用气体要求 | REQUIREMENTS 要求 | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
MRI compatible medical gas panel and waveguides within RF Cabin | Bidder to provide installation |  |  | Enter Responses Here!
MEDICAL GASES REQUIREMENTS, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
ROOM REQUIREMENTS, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
MAINTENANCE & SERVICE REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Recommended Inspection and Preventive Maintenance Interval | Bidder to specify |  |  | Enter Responses Here!
Can the maintenance be done in-house? | Bidder to specify |  |  | Enter Responses Here!
Training for PM protocol to be provided. | Bidder to specify |  |  | Enter Responses Here!
Comprehensive Service Contract | Supplier must offer comprehensive maintenance and repair services |  |  | Enter Responses Here!
Defined In-person response time | 48-72 hours |  |  | Enter Responses Here!
Online technical support response time | Yes |  |  | Enter Responses Here!
Assured availability of spare parts | 7-10 years |  |  | Enter Responses Here!
In-person Factory Acceptance Testing | Yes |  |  | Enter Responses Here!
MAINTENANCE & SERVICE REQUIREMENTS
User Training | Required. Twice, within 4 weeks upon successful Acceptance Testing & Commissioning.
Comprehensive Service Contract Duration, Post Warranty
Turnaround time for corrective maintenance
Uptime Guarantee, Annually (days) | ≥95%
Note on B44: DD: 500 lb = 227 kg changed to > 227kg

## Compiled (hidden)
Nombor Izin Edar (NIE) - Indonesia Product Approval License | Bidder to specify | Enter Responses Here!
ACCESSORIES REQUIRED FOR EACH CLINICAL APPLICATION/PROCEDURES | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
START-UP CONSUMABLES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
ELECTRICAL REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Electrical Requirement, V | 230 V AC, 50Hz |  |  | 400 V, 50Hz 3-Phase
Power Plug Type | 3-pins/prongs power plug with strain relief |  |  | remove if above
Power Consumption, kW | Bidder to specify highest power consumption |  |  | Enter Responses Here!
Battery Powered | Rechargeable |  |  | Enter Responses Here!
Battery Operating Time, hr | Bidder to specify |  |  | Enter Responses Here!
Battery Recharging Time, hr | Bidder to specify |  |  | Enter Responses Here!
UPS Requirement | Bidder to specify |  |  | Enter Responses Here!
Estimated Operation Time, minutes | At least 30 minutes |  |  | Enter Responses Here!
Compliant with IEC 60601 - Safety of Medical Electrical Equipment | Required. Bidder to provide certificate. |  |  | Enter Responses Here!
Compliant with IEC Standards for Energy Efficiency | Bidder to specify relevant IEC Standards |  |  | Enter Responses Here!
Certifications related to Energy Efficiency | Bidder to specify |  |  | Enter Responses Here!
IT REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Interface with Information System
Integrating the Healthcare Enterprise (IHE) Profiles Supported | Required for communicating different devices |  |  | Enter Responses Here!
Interface with Information System | Required, e.g: HIS, RIS, EMR, etc |  |  | Enter Responses Here!
Type of Networking/Connectivity Interface | Wireless or LAN-Port Bidder to specify |  |  | Enter Responses Here!
Compatible Data Management System (Middleware) | Bidder to specify |  |  | Enter Responses Here!
Data Port | Data port must be activated, e.g: RS232 Bidder to ensure all output data will be transferable or integrated into HIS. |  |  | Enter Responses Here!
System Upgradeable in Future | Software and hardware upgradeable at no cost |  |  | Enter Responses Here!
Remote Support Capability | Off site diagnosis of technical issues and remote fixes. Bidder to specify. |  |  | Enter Responses Here!
Cybersecurity Considerations
Installation of latest software version | Bidder to provide |  |  | Enter Responses Here!
Anti-malware software and firewalls | Required. |  |  | Enter Responses Here!
DELETE
Deactivation of unnecessary open communication channels (e.g.: USB ports) | Ability to disable (software and hardware) |  |  | Enter Responses Here!
Confidentiality and Security Measures | Bidder to provide Password protected, authentication, wirelesss security protocols, audit trails |  |  | Enter Responses Here!
Adherence to local regulations on security and privacy of electronic health information (e.g.: Health Insurance Portability and Accountability Act (HIPAA) in the USA) | Bidder to specify |  |  | Enter Responses Here!
ARTIFICIAL INTELLIGENCE (AI) CAPABILITITES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
TELEMEDICINE (TM) CAPABILITITES, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
MEDICAL GASES REQUIREMENTS 医用气体要求 | REQUIREMENTS 要求 | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
MRI compatible medical gas panel and waveguides within RF Cabin | Bidder to provide installation |  |  | Enter Responses Here!
MEDICAL GASES REQUIREMENTS, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
ROOM REQUIREMENTS, where applicable | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
N/A | N/A
MAINTENANCE & SERVICE REQUIREMENTS | REQUIREMENTS | BIDDER'S RESPONSE
|  | Yes (√) | No (x) | Bidder to enter responses about their device
Recommended Inspection and Preventive Maintenance Interval | Bidder to specify |  |  | Enter Responses Here!
Can the maintenance be done in-house? | Bidder to specify |  |  | Enter Responses Here!
Training for PM protocol to be provided. | Required |  |  | Enter Responses Here!
Comprehensive Service Contract | 5 years, with additional 5 years comprehensive service quotation |  |  | Enter Responses Here!
Defined In-person response time | 48-72 hours |  |  | Enter Responses Here!
Online technical support response time | Yes |  |  | Enter Responses Here!
Assured availability of spare parts | 7-10 years |  |  | Enter Responses Here!
Warranty Period | Minimum 2 years |  |  | Enter Responses Here!
In-person Factory Acceptance Testing | Yes |  |  | Enter Responses Here!

## Hazards and Recalls
Notification of Equipment Hazards and/or Recalls
Please list down the Hazards and/or Recalls of the equipment that you proposed and the field corrective actions, if any.
List (Reported Hazards, Alerts, RECALL): | Please provide clarification of action taken:
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!
Enter Responses Here! | Enter Responses Here!

## Proposed Accessories and Price
Proposed Accessories and Price (5 years)
Procurement of Oxygen Tank 1 Metercube and Regulator
Include description and pricing for all accessories (e.g., <insert examples>, etc.) required for a typical procedure and offered by your company.
Brand | Model | Accessories Name/Description | Catalogue No. | UoM/Quantity | Unit Price ($) | Total Price ($)
Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here!
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | TOTAL |  | 0 | 0 | 0
|  | Discount ($), if any |  |  |  | 0
|  | GRAND TOTAL PRICE ($) |  |  |  | 0

## Proposed Consumables and Price
Proposed Consumables and Price (5 years)
Procurement of Oxygen Tank 1 Metercube and Regulator
Include description and pricing for all consumable items (e.g.,<insert examples> etc.) required for a typical procedure and offered by your company. Provide total consumable pricing for 100 typical patient procedures.
Brand | Model | Consumables Name/Description | Catalogue No. | UoM/Quantity | Unit Price ($) | Total Price ($)
Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here!
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | TOTAL |  | 0 | 0 | 0
|  | Discount ($), if any |  |  |  | 0
|  | GRAND TOTAL PRICE ($) |  |  |  | 0

## Proposed Post Warranty Service
Proposed Post - Warranty, Maintenance Service Contract (Year 6 to 10)
Procurement of Oxygen Tank 1 Metercube and Regulator
Brand | Model | UoM/Quantity | PPM Frequency (times/year) | Comprehensive Service Contract
Shall include: - Working hours - Labor charge and cost incurred in transportation & accomodation - Spare parts
|  |  |  | Details of Service Contract | Total for Year 6 ($) | Total for Year 7 ($) | Total for Year 8 ($) | Total for Year 9 ($) | Total for Year 10 ($)
Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here! | Enter Response Here!
aid g